PROJECT REVIEW – 2

Explainable Vision-Language Diagnostic Assistant

for Chest Radiographs with Offline Rural Deployment

NLP Specialization Capstone Project

Cluster – 3  |  Section – 7

| Team Members | Register Number |
| --- | --- |
| P. Kavya Sai | 2420030322 |
| D. Poojitha | 2420030697 |
| P. Meghana | 2420030401 |
| S. Anajana | 2420030499 |

Faculty: Dr. K Swanthana

# 1. PROBLEM STATEMENT

Acute Radiologist Shortage: Primary health centers in rural regions lack specialist radiologists to read X-rays and detect conditions like pneumonia or tuberculosis.

Diagnostic Delays & Travel Burden: Patients may travel vast distances to urban hospitals, delaying time-critical care and increasing financial burden.

Black-Box AI Mistrust: Traditional AI systems provide class outputs without explanations, making local nurses reluctant to rely on machine predictions.

The project addresses the need for an explainable diagnostic-support workflow that combines chest X-ray classification, visual evidence, text-based reporting and priority guidance for rural healthcare use.

# 2. OBJECTIVES

| Objective | Description |
| --- | --- |
| 1. Multimodal Diagnosis | Develop a vision-language assistant to generate plain-language diagnostic descriptions such as "early signs of pneumonia" alongside class confidence scores. |
| 2. Visual Explanation | Incorporate Grad-CAM heatmaps and attention overlays that identify the anatomical regions contributing to the model output. |
| 3. Automated Triage & Priority Guidance | Compute case-urgency flags, such as "Please refer to specialist within 24 hours", to help rural health workers prioritize critical cases. |

# 3. LITERATURE SURVEY & RESEARCH GAP

## 3.1 Literature Survey – Existing Work

| Existing Work | Contribution | Limitation |
| --- | --- | --- |
| Standard CNN Classifiers – ResNet & DenseNet | Strong image-classification performance on chest X-rays such as ChestX-ray14. | Primarily classification-oriented and lacks integrated report generation and multimodal explanation. |
| Large Vision-Language Models | Can generate clinical-style reports by combining image and language information. | Heavy Transformer architectures can require GPU servers and stable cloud APIs, making offline edge deployment difficult. |
| Standalone Saliency / Heatmap Methods | Highlight image regions that contribute to model predictions. | Do not by themselves explain clinical severity or provide actionable triage advice. |

## 3.2 Identified Research Gaps

Absence of Explainable Multimodal Grounding: Existing systems rarely combine textual diagnostics with exact visual heatmap verification.

High Computational Overhead: There is a need for quantized, offline-capable vision-language approaches suitable for edge smartphone hardware.

Lack of Actionable Triage Systems: Standard models output probabilities without translating them into useful emergency referral timelines for health workers.

## 3.3 Datasets

| Dataset | Resource | Key Details |
| --- | --- | --- |
| ChestX-ray14 | NIH CC Box | 112,120 chest X-rays with 14 disease labels. |
| OpenI (OpenAccess) | NLM OpenI | 7,470 X-rays paired with clinical radiology reports. |
| ROCO Medical | GitHub / ROCO | Multimodal radiology dataset for text-image alignment. |

# 4. METHODOLOGY

| Stage | Approach |
| --- | --- |
| Data-Driven Class Selection | Retain 11 of 14 NIH conditions based on measured per-class support. |
| Frozen-Backbone Transfer Learning | Use ImageNet-pretrained ViT-B/32 and DenseNet121; fine-tune only final blocks. |
| Imbalance-Aware Training | Use weighted loss and best-checkpoint-by-F1 selection to counter class imbalance and overfitting. |
| Post-Hoc Threshold Tuning | Optimize per-class decision thresholds using precision-recall curves without retraining. |
| Retrieval-Augmented Reporting | Use TF-IDF grounding against real OpenI radiology report text. |
| Independent Cross-Checks | Use zero-shot CLIP and BLIP v1 as separate secondary signals. |

## 4.1 Methodology Flow

Acquire and prepare chest X-ray and report datasets.

Select the supported disease conditions from ChestX-ray14.

Train/fine-tune ViT-B/32 and DenseNet121 using transfer learning.

Handle class imbalance using weighted loss and F1-based checkpoint selection.

Tune decision thresholds independently for each condition.

Generate visual explanations using attention-based visualization.

Retrieve relevant report text using TF-IDF and generate multi-condition reporting.

Apply independent CLIP and BLIP v1 cross-checks.

Pass the outputs to the rule-based triage component.

Present predictions, explanations and reports through the Streamlit application with PDF export.

# 5. SYSTEM DESIGN

| Step | Module | Output |
| --- | --- | --- |
| 1 | Upload | Chest X-ray (PNG / JPG) |
| 2 | Classify – ViT-B/32 | 11-condition prediction |
| 3 | Explain + Report | Attention heatmap + TF-IDF retrieval |
| 4 | Triage | Rule-based urgency scoring |
| 5 | Deliver | Streamlit UI + downloadable PDF report |

Two independent branches—vision explainability and text reporting—recombine at the presentation layer, alongside supplementary CLIP and BLIP v1 cross-checks.

## 5.1 End-to-End Architecture

Chest X-ray → ViT-B/32 Classification → Attention Heatmap + TF-IDF Report Retrieval → Rule-based Triage → Streamlit UI / PDF Report

# 6. TECHNICAL STACK

| Technology | Purpose |
| --- | --- |
| Python / PyTorch / torchvision | Model definition, training and inference. |
| HuggingFace Transformers | CLIP and BLIP v1 cross-checks. |
| scikit-learn | TF-IDF, precision-recall curves and evaluation metrics. |
| OpenCV | Heatmap overlays and contour visualization. |
| pandas | Dataset and report handling. |
| Streamlit | Interactive web application. |
| fpdf2 | Downloadable PDF reports. |
| Kaggle / kagglehub | Dataset acquisition. |

# 7. CODE STRUCTURE & IMPLEMENTATION

| Pipeline Stage | Key Files | Purpose |
| --- | --- | --- |
| Data | dataset.py, count_labels.py | Dataset preparation and class-support analysis. |
| Model | model.py, train.py | ViT-B/32 transfer learning and imbalance-aware training. |
| Explainability | gradcam.py | Attention-based explainability, heatmap and contour marking. |
| Evaluation | evaluate.py, tune_thresholds.py | Model evaluation and per-class threshold tuning. |
| Reporting | report_index.py, report_generator.py | TF-IDF indexing and multi-condition report generation. |
| Cross-checks | clip_verify.py, blip_caption.py | Independent CLIP and BLIP v1 verification. |
| Decision | triage.py | Deterministic urgency scoring. |
| Delivery | inference.py, report_pdf.py, app/app.py | Inference, Streamlit interface and downloadable PDF report. |

# 8. RESULTS / OUTCOMES

| Metric | Result |
| --- | --- |
| Conditions Classified | 11 |
| Best Macro F1 – tuned | 0.304 |
| Real Reports Indexed | 7,426 |

## 8.1 Backbone Comparison

| Model | Default Threshold (0.5) Macro F1 | Tuned Threshold Macro F1 |
| --- | --- | --- |
| DenseNet121 | 0.254 | 0.304 |
| ViT-B/32 | 0.230 | 0.260 |

Why ViT scored slightly lower: Vision Transformers lack the built-in locality and translation-invariance biases of CNNs and typically need more training data to match CNN performance. The project used approximately 4,800 training images, making the observed gap an expected outcome rather than an implementation defect.

# 9. PERFORMANCE EVALUATION & DEEPER ANALYSIS

## 9.1 Recall Improvement from Per-Class Threshold Tuning

| Condition | Default Threshold Recall | Tuned Threshold Recall |
| --- | --- | --- |
| Cardiomegaly | 0.062 | 0.75 |
| Mass | 0.079 | 0.45 |
| Pneumonia | 0.000 | 0.33 |

Trade-off accepted deliberately: for a triage tool, a missed finding is treated as more costly than a false alarm.

## 9.2 Explainability Validation

| Measure | Observed Result |
| --- | --- |
| Heatmap standard deviation | 0.000 → 0.277 |
| Visualization issue | Gradient-based Grad-CAM collapsed on the ViT because of token homogenization in the mostly-frozen backbone. |
| Resolution | Attention-based visualization, the standard ViT approach, restored genuine spatial signal. |

## 9.3 Qualitative Validation

On a held-out case with ground truth of Cardiomegaly, Edema and Effusion, the system correctly flagged Cardiomegaly at 99.9% confidence and Effusion after the multi-condition reporting upgrade.

# 10. PROJECT DESIGN & DEPLOYMENT

| Component | Design Choice |
| --- | --- |
| Input | Chest X-ray in PNG / JPG format. |
| Prediction | 11-condition ViT-B/32 classifier. |
| Explainability | Attention-based heatmap and contour visualization. |
| Reporting | TF-IDF retrieval grounded in OpenI report text. |
| Triage | Deterministic rule-based urgency scoring. |
| Application | Streamlit interactive UI. |
| Output | Prediction, visual explanation, report and downloadable PDF. |
| Deployment Goal | Offline-oriented rural diagnostic support. |

# 11. EXPECTED PROJECT OUTCOME

Explainable chest X-ray classification across 11 selected conditions.

Visual evidence that helps users inspect regions associated with predictions.

Retrieval-grounded multi-condition diagnostic reporting using real radiology report text.

Per-class threshold tuning to improve recall for triage-oriented use.

Rule-based urgency scoring to support prioritization of cases.

Independent CLIP and BLIP v1 signals for supplementary cross-checking.

Interactive Streamlit delivery with downloadable PDF reports.

A practical offline-oriented workflow aimed at reducing rural diagnostic delays.

# 12. CONCLUSION

The Explainable Vision-Language Diagnostic Assistant combines chest X-ray classification, visual explainability, retrieval-grounded reporting and rule-based triage in a single workflow. The implementation evaluates ViT-B/32 and DenseNet121 using transfer learning, addresses class imbalance through weighted training and threshold tuning, and uses attention-based visualization to obtain meaningful spatial evidence from the ViT model. The resulting system is designed as an offline-oriented decision-support tool for rural healthcare settings, with predictions, explanations, reports and priority guidance delivered through a Streamlit interface.

# 13. KEY REFERENCES / RESOURCES

ChestX-ray14 – NIH Chest X-ray dataset.

OpenI – Indiana University / NLM OpenAccess chest X-ray and report collection.

ROCO Medical – radiology image-text dataset.

ResNet / DenseNet – standard deep-learning image-classification architectures used as relevant existing work and baselines.

CLIP – image-text representation learning used for an independent cross-check.

BLIP v1 – image captioning / vision-language cross-check.

TF-IDF – retrieval mechanism for grounding report generation in OpenI report text.

THANK YOU